Annual Inspection Checklist for PC2 Laboratory

| Facility and fitting conditions |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A | Notes |
| Signs | OGTR facility and biohazard signs remain affixed to access door/s and in good condition (signs are on or near access door/s and able to be clearly seen by persons entering facility) |  |  |  |  |
| Facility | Doors, walls, ceiling, windows and work surfaces are in appropriate condition for continued containment |  |  |  |  |
| Decontamination of hands | Hands free washbasin fitted or other means of decontamination of hands provided (e.g. dispensers containing decontaminant solution) |  |  |  |  |
| Eyewash | Eyewash equipment or ampoules provided |  |  |  |  |
|  | If eyewash equipment is provided - record of testing and maintenance up to date |  |  |  |  |
|  | If eyewash ampoules are provided - within use by date. |  |  |  |  |
| Open spaces under benches and equipment | Accessible for decontamination |  |  |  |  |

|  |  | Yes | No | N/A | Notes |
| --- | --- | --- | --- | --- | --- |
| Biological Safety Cabinet (if fitted) | Inspected and tested at least once within last 12 months |  |  |  |  |
|  | Certificate of test results and date of next test affixed to side of cabinet |  |  |  |  |
| Backflow prevention (if installed in the laboratory) | Maintained and tested annually (if testable) |  |  |  |  |
|  | Record of maintenance and testing (if applicable) up to date |  |  |  |  |

| Operational conditions |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A | Notes |
| Aerosol containment | Dealings produce aerosols containing microorganisms |  |  |  |  |
|  | Aerosols containing microorganisms are contained in a Biological Safety Cabinet or by other equipment specifically approved in writing |  |  |  |  |
| Disinfectants | Disinfectants suitable for use against the GMOs dealt with in the facility are available |  |  |  |  |
|  | Working stocks of disinfectants show name of disinfectant, concentration and date prepared. |  |  |  |  |
|  | Disinfectant concentration and date of preparation appropriate for effectiveness |  |  |  |  |

|  |  | Yes | No | N/A | Notes |
| --- | --- | --- | --- | --- | --- |
| Waste | Autoclave bags loaded correctly i.e. not overloaded |  |  |  |  |
|  | Waste labelled with name, date and facility of origin |  |  |  |  |
| Training | Record of local training in the behavioural requirements for a PC2 laboratory is up to date |  |  |  |  |
|  | Record of personnel working in the laboratory that have completed the Biological Saftey and Gene Technology training courses |  |  |  | Note: Biological Saftey and Gene Technology training is compuslory for all ANU personnel working with GMOs |
|  | Copies in the facility manual of all approved applications for NLRDs and/or licence conditions for any DNIRs or DIRs conducted in the laboratory |  |  |  |  |
|  | Record of notification of licence conditions to personnel working on any DNIRs or DIRs conducted in the laboratory is up to date |  |  |  |  |
| Personal protection | Personnel working in the facility wear labcoats and closed footwear, and have long hair tied back |  |  |  |  |
| Food & drink, etc. | Any food, drinks or associated utensils, e.g. coffee mugs, present in the laboratory |  |  |  |  |