Annual Inspection Checklist for PC2 Plant Facility

| Facility and fitting conditions |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A | Notes |
| Signs | OGTR facility and biohazard signs remain affixed to access door/s and in good condition (signs are on or near access door/s and able to be clearly seen by persons entering facility) |  |  |  |  |
| Facility | Doors, walls, ceiling, windows, drainage exit barriers, mesh screens and any transparent sections are in appropriate condition for continued containment |  |  |  |  |
| Boundaries | Boundaries are in good condition and free of weeds |  |  |  |  |
| Anteroom | Anteroom is in appropriate condition for continued containment |  |  |  |  |
| Decontamination of hands | Washbasin or other means of hand decontamination provided (e.g. dispensers containing decontaminant solution) |  |  |  |  |
| Operational Conditions |  |  |  |  |  |
|  |  | Yes | No | N/A | Notes |
| Waste | Autoclave bags loaded correctly i.e. not overloaded |  |  |  |  |
|  | Autoclave waste labelled with name, date and facility of origin |  |  |  |  |

|  |  | Yes | No | N/A | Notes |
| --- | --- | --- | --- | --- | --- |
| Arthropods | Arthropod control measures, e.g. pest strips, are in place to prevent entry and exit of arthropods |  |  |  | In the anteroom if the facility has one or inside the plant house if it does not |
| Training | Record of local training in the behavioural requirements for a PC2 plant house is up to date |  |  |  |  |
|  | Record of personnel working in the animal house that have completed the Biological Safety and Gene Technology training courses |  |  |  | Note: Biological Saftey and Gene Technology training is compuslory for all ANU personnel working with GMOs |
|  | Copies in the facility manual of all approved applications for NLRDs and/or licence conditions for any DNIRs or DIRs conducted in the animal house |  |  |  |  |
|  | Record of notification of licence conditions for any DNIRs or DIRs conducted in the plant house is up to date |  |  |  |  |
| Personal protection | Personnel working in the facility wear labcoats and closed footwear |  |  |  |  |
| Food & drink, etc. | Any food, drinks or associated utensils, e.g. coffee mugs, present in the facility |  |  |  |  |
| Pests | Pest control strategy in place if not covered by a building control strategy |  |  |  |  |

| Dealings involving GM micro-organisms (these conditions must also be met if any of the dealings in the plant facility involve GM micro organisms) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A | Notes |
| Surfaces | Remain smooth, impermeable to water, cleanable and resistant to damage by cleaning agents used in the facility |  |  |  |  |
| Open spaces under benches and equipment | Accessible for decontamination |  |  |  |  |
| Effluent decontamination | Drainage exits fitted with liquid traps that are permanently filled with appropriate decontaminant or contaminated effluent is contained and treated as waste |  |  |  |  |
| Disinfectants | Disinfectants suitable for use against the GMOs dealt with in the facility are available |  |  |  |  |
|  | Working stocks of disinfectants show name of disinfectant, concentration and date prepared |  |  |  |  |
|  | Disinfectant concentration and date of preparation appropriate for effectiveness |  |  |  |  |
| Eyewash | Eyewash equipment or ampoules provided |  |  |  |  |
|  | If eyewash equipment is provided - record of testing and maintenance up to date |  |  |  |  |
|  | If eyewash ampoules are provided - within use by date. |  |  |  |  |

|  |  | Yes | No | N/A | Notes |
| --- | --- | --- | --- | --- | --- |
| Aerosol containment | Dealings produce aerosols containing microorganisms |  |  |  |  |
|  | Aerosols are contained in a Biological Safety Cabinet or by other equipment specifically approved in writing |  |  |  |  |
| Biological Safety Cabinet (if fitted) | Biological Safety Cabinet inspected and tested at least once within last 12 months |  |  |  |  |
|  | Certificate of test results and date of next test affixed to side of cabinet |  |  |  |  |
| Backflow prevention (if installed in the plant house) | Maintained and tested annually (if testable) |  |  |  |  |
|  | Record of maintenance and testing (if applicable) up to date |  |  |  |  |

Annual Inspection Checklist for PC 2 Waste Soil Steaming Facility

| Building facility and fitting conditions |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A | Notes |
| Heat-based decontamination equipment (steam disinfection) | Building No. Soil temperatures recorded Thermocouples calibrated annually Records up to date and cover the previous year |  |  |  |  |

| Behavioural Requirements |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Operators of heat-based decontamination equipment (steam disinfection) | Record of training in the behavioural requirements for disposal applying to the PC2 facilities from which the waste originated |  |  |  |  |
|  | Record of personnel working in the PC2 waste soil disposal area that have undertaken the Gene Technology Training course |  |  |  | Note: Gene Technology Training is compuslory for all ANU personnel working with GMOs |
|  | Record of training in PC2 waste soil treatment by steaming |  |  |  |  |
|  | Thermocouples placed appropriately |  |  |  |  |
|  | Any food, drinks or associated utensils e.g. coffee mugs, present in the waste disposal facility |  |  |  |  |