Annual Inspection Checklist for Building-Wide PC 2 Support Facilities

| Building facility and fitting conditions |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A | Notes |
| Heat-based decontamination equipment | Room No. Validated monthly Autoclave No. Calibrated annually Records up to date and cover the previous year |  |  |  | Use another copy of this sheet if the building has more than three autoclaves |
|  | Room No. Validated monthly Autoclave No. Calibrated annually Records up to date and cover the previous year |  |  |  |  |
|  | Room No. Validated monthly Autoclave No. Calibrated annually Records up to date and cover the previous year |  |  |  |  |
| Backflow prevention (if installed to the building) | Maintained and tested annually (if testable) |  |  |  |  |
|  | Records kept of building backflow maintenance and testing (if applicable) dating back to July 1, 2007 |  |  |  |  |

| General conditions |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A | Notes |
| Pests | Building pest control strategy in place and documented |  |  |  |  |

| Behavioural Requirements |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Operators of heat-based decontamination equipment | Record of training in the behavioural requirements for disposal applying to the PC2 facilities from which the waste originated |  |  |  |  |
|  | Record of personnel working in the PC2 waste disposal area that have undertaken the Gene Technology Training course |  |  |  | Note: Gene Technology Training is compuslory for all ANU personnel working with GMOs |
|  | Record of training in autoclave operation |  |  |  |  |
|  | Autoclave bags permeable to steam or opened to allow steam access |  |  |  |  |
|  | Overloaded autoclave bags are reloaded correctly or returned to originating facility for reloading correctly |  |  |  |  |
|  | Thermocouples, spore strips etc. placed appropriately |  |  |  |  |
|  | Personnel working in the waste disposal facility are wearing gloves, labcoats and closed footwear, and have long hair tied back |  |  |  |  |
|  | Any food, drinks or associated utensils e.g. coffee mugs, present in the waste disposal facility |  |  |  |  |
| Cleaners, maintenance personnel and contractors | Record of training in the behavioural requirements appropriate for cleaners, maintenance personnel or contractors working in PC2 facilities |  |  |  |  |